KEMPEROL 2K-PUR ECOROOF TRAY PLAZA/GARDEN DECK WATERPROOFING SYSTEM

GUIDE SPECIFICATION

PART 	GENERAL

SYSTEM DESCRIPTION

- The following specification outlines the requirements for a cold fluid-applied reinforced polyurethane roofing and waterproofing membrane, with extensive vegetated tray system (with trays, growing media, plants, drip irrigation system, edge elements/metal trim, walkpads, supplemental built-up assembly) and all other ancillary waterproofing work including but not limited to installation of drains, pipe flashings, penetration flashings, sealants and metal work as specified.

SECTION INCLUDES

- Adhered cold fluid-applied reinforced polyurethane waterproofing system including, membrane, penetration flashings, base flashings, and expansion joints.

- Substrate preparation, cleaning, leveling and patching

- Temporary waterproofing and priming

- Waterproofing membrane installation

- Flashing installation and expansion joint installation

- Protective surfacing

- Alkalinity protection

- Optional drainage board

- Optional insulation installation

- Vegetated tray system installation

- Precast concrete pavers

RELATED SECTIONS

A.	Supplementary General Conditions

B.	Basic Requirements

C.	Wood Blocking and Nailers

D.	Sheet Metal Flashing and Trim

E.	Overburden Installation

REFERENCES

- National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual.

- ACI-308 - Recommended Practice for Curing Concrete

- ASTM - D638 - Test Methods for Tensile Properties of Plastics

- ASTM - D4258 - Standard Practice for Surface Cleaning Concrete for Coatings

- ASTM - D4259 - Standard Practice for Abrading Concrete

- ASTM - D4541 - Method for Pull-Off Strength of Coatings using Portable Adhesion Tester

- ASTM - E96(A) - Test Methods of Moisture Transmission of Material

- ASTM E-108, ANSI/UL 790 for Fire Resistance

- International Concrete Repair Institute Guideline 03732 Concrete Surface Preparation

- Steel Structures Painting Council (SSPC)

- German FFL Greenroof Guidelines: Guideline for the Planning, Execution and Upkeep of Green Roof Sites, Release 2002

SUBMITTALS FOR REVIEW

- Membrane System Product Data:  Provide current standard printed product literature indicating characteristics of membrane materials, flashing materials, components, and accessories product specification and installation.

- Vegetated System Product Data: Provide current standard printed product literature for vegetated system components, growing media type, and planting types indicating characteristics and limitations.

- Product Samples:  Submit product samples of membrane and flashing materials showing color, texture, thickness and surfacing representative of the proposed system for review and approval by the Owners Representative.

- Submit sample copies of both the Manufacturer and Applicator warranties for the periods stipulated.  Each specimen must be a preprinted representative sample of the issuing company’s standard warranty for the system specified.

- Submit copies of current Material Safety Data Sheets (MSDS) for all components of the work.

- Membrane Shop Drawings:  Submit shop drawings of cold fluid-applied reinforced polyurethane showing all a project plan, size, flashing details, and attachment for review and approval by the Owners Representative and Membrane Manufacturer.

- Vegetated System Shop Drawings: Plan layout and details at critical terminations of garden roof system with adjacent building construction. Include flashing connections to planter system, pavers, and building systems. Include plant schedule and layout.

- Vegetated System Maintenance Instructions: Manufacturer’s instructions for Owner maintenance of planting media as needed for long term propagation and health of vegetation. Include special provisions as applicable for specific plant media and climatic zone, as well as requirements for irrigation and fertilization.

QUALITY ASSURANCE

- Membrane Supplier: Company specializing in manufacturing the products specified in this section with ten (10) years documented experience.  Membrane Manufacturer shall submit the following certifications for review:

- Substrates and conditions are acceptable for purpose of providing specified warranty.

- Materials supplied shall meet the specified requirements.

- Vegetated System Supplier: Company specializing in manufacturing/supplying the products specified in this section with five (5) years documented experience.  Vegetated System Supplier shall submit the following certifications for review:

  - Substrates and conditions are acceptable for purpose of providing specified warranty.

  - Materials supplied shall meet the specified requirements.

- Applicator:  Company specializing in performing the work of this section with (3) years documented experience and approved by system manufacturer/supplier for warranted  membrane and vegetated system installation.  Applicator shall submit the following certification for review:

    - Applicator shall submit documentation from the membrane manufacturer/vegetated system supplier to verify contractor’s status as an approved applicator for warranted installations.

- Evaluate moisture content of substrate materials.  Constructor shall determine substrate moisture content throughout the work and record with Daily Inspection Reports or other form of reporting acceptable to the Owner or designated Representative, and Membrane Manufacturer.

- Random tests to determine tensile bond strength of membrane to substrate shall be conducted by the Contractor at the job site using an Elcometer Adhesion Tester Model 106 or similar device, or by the performance of a manual pull test.  Contractor shall perform tests at the beginning of the Work, and at intervals as required to assure specified adhesion with a minimum of three (3) tests per 5000 square feet.  Smaller areas shall receive a minimum of three (3) tests.  Test results shall be submitted to the Owner or his designated Representative and the Membrane Manufacturer. Contractor shall immediately notify the Owner or his designated Representative and Membrane Manufacturer in the event bond test results are below specified values.

- Adequate surface preparation will be indicated by tensile bond strength of membrane to substrate greater than or equal to 220 psi (1.5 N/mm2), as determined by use of an adhesion tester.

- Adequate surface preparation will be indicated by 135( peel bond strength of membrane to substrate such that cohesive failure of substrate occurs before adhesive failure of membrane/substrate interface.

- In the event the bond strengths are less than the minimum specified, additional substrate preparation is required. Repeat testing to verify suitability of substrate preparation.

- Monitor quantities of installed materials. Monitor application of resin mixture, reinforcing fleece and flashing. Perform Work in accordance with manufacturer's instructions.

- Mock-up areas shall be used to determine required methods and tools to obtain degree of substrate preparation required by the membrane manufacturer.  Conduct tests as required to verify that substrate preparation meets specified requirements.  Tests shall include, but are not limited to, tensile bond strength and moisture content of substrate. In addition, mock-up areas shall be used to confirm application practices in the installation of the membrane and vegetative system assembly.

- Prepare and clean a three (3) foot (0.9 m) by three (3) foot (0.9 m) area of each substrate material type.

- Submit findings in writing to Owner or his designated Representative and Membrane Manufacturer.

- Mock-up areas shall be maintained for quality control for the entire project.

REGULATORY REQUIREMENTS

- Conform to applicable building and jurisdictional codes for roofing/waterproofing assembly and fire resistance requirements.

- Comply with requirements of OSHA, NIOSH or local governing authority for work place safety.

- Comply with authority or agency “Confined Space Policy” during and throughout all work to be performed.

PRE-INSTALLATION MEETING

- Convene a pre-installation meeting at the job site (1) week before starting work of this section. Require attendance of parties directly affecting work of this section, including but not limited to, [Architect] [Engineer] [Roofing/Waterproofing Consultant], [Owner's Representative], Roofing/Waterproofing/Landscaping Contractor, and Membrane Manufacturer/Vegetative System Representative.  Review roofing/waterproofing/vegetative system preparation and installation procedures, coordination and scheduling required with related work, and condition and structural loading limitations of deck/substrate.

FIELD INSPECTION SERVICES

- Manufacturer’s technical representative shall provide the following inspections of the membrane application:

- Jobstart inspection at the beginning of each phase of the project, to review special detailing conditions and substrate preparation.

- Periodic in-progress inspections throughout duration of the project to evaluate membrane and flashing application.

- Final punch-list inspection at the completion of each phase of the project prior to installation of any surfacing or overburden materials.

- Warranty inspection to confirm completion of all punch list items, followed by 24 hr. flood test to confirm watertightness of installed waterproofing membrane.

- In-progress inspection during vegetative system installation to confirm tray, perimeter metal securement, and irrigation system installation prior to growing media installation.

- Final inspection to confirm completion of planting installation.

DELIVERY, STORAGE, AND PROTECTION

- The Contractor together with the Owner or his designated Representative shall define a storage area for all components. The area shall be cool, dry, out of direct sunlight, and in accordance with manufacturer‘s recommendations and relevant regulatory agencies.  Materials shall not be stored in quantities that will exceed design loads, damage substrate materials, hinder installation or drainage.

- Store solvent-bearing solutions, resins, additives, inhibitors or adhesives in accordance with the MSDS and/or local fire authority. After partial use of materials replace lids promptly and tightly to prevent contamination.

- Rolls of fleece reinforcing materials shall be stored horizontally on platforms sufficiently elevated to prevent contact with water and other contaminants. DO NOT use rolls that are wet, dirty or have damaged ends. Fleece reinforcing materials must be clean, dry, and free of all contaminants.

- Roofing/waterproofing materials must be kept dry at all times.  If stored outside, raise materials above ground or roof level on pallets and cover with a tarpaulin or other waterproof material.  Plastic wrapping installed at the factory should not be used as outside storage covers.

- Follow manufacturer's directions for protection of vegetated system materials prior to and during installation.  Do not use materials that have been damaged to the point that they will not perform as specified.

- Store preplanted trays, hardscape materials, growing media, and palletized materials over plywood panels or protective sheeting laid over the finished waterproofing membrane to prevent damage to the membrane.

- Maintain health of plants as recommended by nursery guidelines prior to rooftop installation. Provide water source for irrigation of and maintenance of plants until permanent drip or alternative irrigation system is in place.

- Copies of all current MSDS for all components shall be kept on site. Provide any and all crew members with appropriate safety data information and training as it relates to the specific chemical compound he or she may be expected to deal with. Each crew member shall be fully aware of first-aid measures to be undertaken in case of incidents. Comply with requirements of OSHA, NIOSH or local governing authority for work place safety.

ENVIRONMENTAL REQUIREMENTS

- Do not apply roofing/waterproofing membrane during or with the threat of inclement weather.

- Application of cold fluid-applied reinforced polyurethane roofing/waterproofing membrane may proceed while air temperature is between 40°F (5°C) and 85°F (30°C) providing the substrate is a minimum of 5°F above the dew point.

- When ambient temperatures are at or expected to fall below 50°F (10°C), or reach 85°F (30°C) or higher, follow Membrane System Manufacturer's recommendations for weather related additives and application procedures.

- Ensure that substrate materials are dry and free of contaminants. DO NOT commence with the application unless substrate conditions are suitable.  Contractor shall demonstrate that substrate conditions are suitable for the application of the materials.

- Odor control and elimination measures are not typically necessary, but if required by the Owner or his designated Representative, Contractor shall implement odor control and elimination measures prior to and during the application of the roofing/waterproofing materials. Control/elimination measures shall be field tested at off-hours and typically consists of one (1) or a multiple of the following measures:

- Sealing of air intakes with activated carbon filters.  Install filters in accordance with requirements and recommendations of the filter manufacturer.  Seal filters at joints and against building exterior walls to prevent leakage of unfiltered air where required due to size of intake opening.  Provide track system to secure filters.

- Erection and use of moveable enclosure(s) sized to accommodate work area(s) and stationary enclosure for resin mixing station.  Enclosure shall be field constructed or pre-manufactured of fire retardant materials in compliance with local code requirements in accordance with requirements of the Owner or his designated Representative.  Equipment enclosure(s) with mechanical air intake/exhaust openings and Odor Control Air Cleaners, as required to clean enclosed air volume and to prevent odor migration outside the enclosure.  Exhaust opening shall be sealed with activated carbon filter.

- Placement of odor elimination stations inside and outside of the enclosure(s) as required by field condition, in coordination with the Owner or his designated Representative.

- Protection of Contractor personnel and occupants of the structure and surrounding buildings as necessary to comply with requirements of OSHA, NIOSH and/or governing local authority.

  - Install plant materials at temperatures between 40 degrees F and 95 degrees F. Do not install plants in freezing conditions or when overnight frost is expected.

  - When disposing of all refuse or unused materials, observe all EPA, OSHA or local disposal requirements.

COORDINATION & PROTECTION

- Coordinate the work with the installation of associated metal flashings, accessories, appurtenances, etc. as the work of this section proceeds.

- Building components shall be protected adequately (with tarp or other suitable material) from soil, stains, or spills at all hoisting points and areas of application.  Contractor shall be responsible for preventing damage from any operation under its Contract.  Any such damage shall be repaired at Contractor's expense to Owner's satisfaction or be restored to original condition.

- Provide barricades, retaining ropes, safety elements (active/passive) and any appropriate signage required by OSHA, NIOSH, and NSC and/or the Owner or designated Representative.

- Protect finished roofing/waterproofing membrane from damage by other trades.  Do not allow waste products containing petroleum, grease, acid, solvents, vegetable or mineral oil, animal oil, animal fat, etc. or direct steam venting to come into direct contact with the membrane.

WARRANTY

- Manufacturer's Premier Warranty:  Provide (20) year manufacturer's premier warranty under provisions of this section.  This warranty provides for cost of labor and materials for loss of watertightness, limited to amounts necessary to effect repairs necessitated by either defective material or defects in related installation workmanship, with no dollar limitation (“NDL”). Warranty to include basic removal and replacement of vegetated overburden and pavers as required for performance of warranty repairs to the waterproofing membrane.

- Waterproofing Contractor's Warranty:  Provide (5) year "Applicator Maintenance Warranty" covering workmanship for all work of this section including installation of membrane, flashings, metal work, and roofing/waterproofing accessories.

- Submit (2) executed copies of both the manufacturer and applicator warranties for the periods stipulated, starting from the date of substantial completion.  Each warranty must be signed by an authorized representative of the issuing company.

MATERIAL SUBSTITUTIONS

- Materials proposed for use in the performance of the work that are not specified herein must be submitted to the Owner/Owner’s Representative for evaluation no later than ten days prior to bid.

PART 	PRODUCTS

GENERAL

The products herein specified are totally pre-engineered products of the listed manufacturer and establish criteria for the approval of substitutions.  Products must be part of a pre-engineered system, equivalent in function, quality, composition and method of application to be considered for approval as an "Approved Substitute". Substitute materials must meet or exceed the physical performance characteristics of the specified materials.

MANUFACTURERS - MEMBRANE

Membrane: Two-component, cold fluid-applied reinforced polyurethane waterproofing membrane with a 360 degree needle punched non-woven 165 polyester reinforcing fleece, for a finished dry film membrane thickness of .070 inch nominal per ply. Provide products manufactured and supplied by the following:

- Kemper System’s 2K-PUR resin for use in an adhered waterproofing system.

- Physical Properties:

| Property | Typical Value | Test Method |
| --- | --- | --- |
| Color | Gray-Green | - |
| Physical state | Cures to solid | - |
| Nominal thickness (165 fleece) | 70 mils | - |
| Tensile strength @ break | 120 lb/in | ASTM D-751 |
| Elongation | 50% | ASTM D-751 |
| Tearing strength | 5.0 lbs | ASTM D-751 |
| Puncture resistance | 140 lbf | FTMS 101-2031 |
| Dimensional stability | 0.1% | ASTM D-1204 |
| Water absorption | 2.2% | ASTM D-471 |
| Surface hardness | Shore A 85 | ASTM D-2240 |
| Water vapor transmission | 0.04 perms | ASTM E-96 |
| Usage time* | 30 minutes | - |
| Rainproof after* | 6 hours | - |
| Solid to walk on after* | 24 hours | - |
| Solid to drive on with air rubber tires after* | 48 hours | - |
| Overburden may be applied after | 2 days | - |
| Completely hardened after | 3 days | - |
| Crack spanning | 2mm/0.08 inch | - |
| Resistance to temperatures up to (short term) | 250°C/482°F | - |
| *all times are approximate and depend upon air flow, humidity and temperature. |

2.3		FLASHINGS

Membrane Flashings:  A composite of the same resin material as field membrane with 165 fleece reinforcement.

2.4		ACCESSORIES

Polyurethane Primer:  Two-component, solvent-free, high solids polyurethane resin for use in improving adhesion of membrane to wood, metal and bituminous substrate surfaces. Monitor application rate and adjust depending on substrate absorbency.

Epoxy Primer:  Two-component, solvent-free epoxy coating for use in improving adhesion of membrane to cementitious/masonry substrate surfaces. Monitor application rate and adjust depending on substrate absorbency.

Methyl Methacrylate Primer: Two-component, quick-dry reactive solvent-based methyl methacrylate resin for use in improving adhesion of membrane to wood and cementitious/masonry substrate surfaces. Monitor application rate and adjust depending on substrate absorbency.

Accelerator:  Additive specifically designed to accelerate the resin reaction time at ambient temperatures below 50ºF (10ºC). Accelerator to be used with cream resin Component A prior to mixing of multi-component resin. Continuously monitor substrate surface temperatures.

Tools, Accessories, and Cleaners:  Supplied and/or approved by membrane manufacturer for product installation.

Topcoat Surfacing Aggregate:  Silica sand, ceramic-coated quartz, or specialty aggregate shall be washed, kiln-dried, and dust-free with the following size specification:

Aesthetic/Fire Rating:			0.3 - 1.0 mm

2.	Alkalinity/Adhesion Key:			0.5 - 1.2 mm

3.	Pedestrian Traffic:				0.4 - 1.0 mm

4.	Light Vehicular Traffic:			0.5 - 1.2 mm

Leveling and Patching Aggregate:  Silica sand shall be washed, kiln-dried, and dust-free, suitable for troweling or pourable self-leveling, round grain or angular with the following size specification:

For voids less than 1” in depth:		0.3 - 0.6 mm

For voids 1” to 2” in depth:		0.5 - 1.2 mm

Mixing Proportions shall be a ratio of resin to sand at 1:2 by volume or as approved by membrane manufacturer.

Backer Rod:  Expanded, closed-cell polyethylene foam designed for use with cold-applied joint sealant.

Caulking:  Single component, non-sag elastomeric polyurethane sealant, as recommended or supplied by membrane manufacturer for use in making airtight and watertight seals where required.

Wood Nailers and Cant Strips:  New wood nailers and cant strips shall be pressure treated for rot resistance (e.g., "Wolmanized" or "Osmose K-33"), #2 or better lumber.  Asphaltic or creosote treated lumber is not acceptable.

Miscellaneous Fasteners: FM-approved and appropriate for purpose intended, length required for thickness of material, with metal plates, and approved by membrane system manufacturer.

Drains:  Spun/cast aluminum or cast iron roof drain with strainer/grate, strainer, as supplied or approved by membrane manufacturer.

Temporary and Night Sealant:  As recommended or required by membrane manufacturer.

2.5		DRAINAGE/PROTECTION BOARD

***** [DELETE IF OVERBURDEN INSULATION OR PRECAST CONCRETE PAVERS ARE NOT SPECIFIED] *****

- Drainage Board: Dimpled polystyrene core, 0.25” thick, with nonwoven geotextile filtering fabric suitable for applications where a direct topping of stone aggregate, concrete pavers, extruded polystyrene insulation, or sand setting bed will be applied, as provided by the following manufacturer:

- American Wick Drain, Inc.’s Sitedrain 454-T

***** [DELETE OVERBURDEN INSULATION IF NOT SPECIFIED] *****

2.6		OVERBURDEN INSULATION

A.	Insulation:  Extruded polystyrene board meeting ASTM C578, Type [VI – 40 psi] [VII – 60 psi] physical properties with natural skin surfaces; 2.0 inch minimum thickness, with the following characteristics:

1.	Compressive Strength	[____] psi

2.	Board Size			[__x__] inches

3.	Board Thickness		[____] inches

4.	Thermal Resistance	R-5 per inch thickness as determined by ASTM C177

5.	Board Edges		square

2.7		SLIPSHEET

***** [DELETE IF OVERBURDEN INSULATION IS NOT SPECIFIED] *****

  - Slipsheet: Non-woven needle-punched polyester fleece suitable for use over extruded polystyrene insulation and beneath vegetative trays, as provided by the following manufacturer:

    - Kemper System, Inc.’s 120 Fleece

    - Columbia Green Technologies, Inc.’s AVRS multilayer Filter Fabric

2.8		INTERLOCKING VEGETATIVE TRAYS

- Vegetative Trays: Injection molded, interlocking, 100 mil polypropylene trays, 2 ft. x 2 ft. x 4-5/8 in. deep, with water-detention ridges and troughs that also de-energize wind flow and facilitate drainage beneath the trays, as provided by the following manufacturer:

  - Columbia Green Technologies, Inc.’s AVRS Trays

2.9		GROWING MEDIA

- Growing Media: Produced from organic recycled material and inorganic by-products for use as a lightweight growing media for hardy succulent or phytoremediation plants, typically sedum. For extensive applications, typically up to a 12” depth. Preblended regionally in accordance with German FLL Greenroof guidelines, as provided by the following supplier:

  - Columbia Green Technologies, Inc.’s AVRS or Max-Lite AVRS Growing Media

- Typical Tray Weights with Growing Media: The following roof loading weights are provided for filled vegetative trays:

  - AVRS Growing Media, 5-1/4 in. depth to overfill trays. Suitable for post-planting, hydroplanting, sedum tiles and blankets.

Fully Saturated Weight:		26 psf

Field Moisture Capacity Weight:	20.5 psf

  - AVRS Growing Media, 4-5/8 in. depth to top of trays. Suitable for pre-planting only.

Fully Saturated Weight:		23 psf

Field Moisture Capacity Weight:	18 psf

2.10	PLANTS

- General: Conform to project landscape design requirements, recommendations of local horticulturists where possible, and requirements of authorities having jurisdiction, including Fire Marshal, for specific recommendations and regulations. Design mix of firewise/firesafe hardy long-lasting fiberous succulents, capable of thriving in limited-irrigated rooftop environment for project location/USDA hardiness zone classification, as provided by the following supplier:

  - Columbia Green Technologies, Inc.’s Nursery Affiliates

- Planting Method: Select planting method in accordance with design requirements from the following:

  - Pre-Planting of Trays – Plug Size min. 1-1/2”, 12 plugs per tray min. or as otherwise specified. Distribute differing plant species evenly and uniformly within each tray for overall appearance of in-place installation.

  - Post-Planting of Trays – Plug Size min. 1-1/2”, 12 plugs per tray min. or as otherwise specified. Distribute differing plant species evenly and uniformly within each tray for overall appearance of in-place installation. Plant following installation of irrigation system.

  - Pre-Grown Sedum Tiles/Blankets – Distribute differing plant species evenly and uniformly throughout growing field for overall appearance of in-place installation. Cut growing field into uniformly-sized tiles/blankets. Apply to achieve full coverage. Plant following installation of irrigation system.

  - Hydroplanting – Distribute plant cuttings by broadcasting evenly in water slurry or as dry cuttings followed by irrigation. Apply following installation of irrigation system.

2.11	TRAY-BASED DRIP IRRIGATION SYSTEM

- Irrigation System: Tray-based drip irrigation system specifically intended for installation into AVRS trays and connected to sub-main, valves, timers, and manifold components installed by others. Irrigation components include low-pressure (15 psi) agricultural-grade water line, water source and line connectors, and AVRS irrigation line tray retention hook and quick-lock fasteners, as provided by the following manufacturer:

  - Columbia Green Technologies, Inc.’s Tray-Based Drip Irrigation System

2.12	DRAIN INSPECTION BOXES

    - Drain Inspection Boxes: Drain inspection boxes by others to be installed as per project landscape design requirements.

2.13	WALKPADS

- Walkpads:  Recycled rubber walkpads, 2 ft. x 2 ft. x 3/4 in. thick, weighing 4.25 lbs. per sq.ft., standard green color or as accepted from manufacturer’s standard selection, as provided by the following supplier:

  - Columbia Green Technologies, Inc.’s Walkpads

2.14	EDGE ELEMENTS/METAL TRIM

- Edge Flashing and Trim: Manufacturer’s standard 26 gauge stainless steel sidewall flashing and trim at trays and walkways to frame, connect, and tie tray and walkpad systems into each other and adjacent building components. Intended to be connected to the trays and mechanically attached to the adjacent building components. As provided by the following supplier:

      - Columbia Green Technologies, Inc.’s Metal Flashing

2.15	SUPPLEMENTAL BUILT-UP ASSEMBLY

- General: Intended for extensive assembly application at radius turns and other locations where tray installation is difficult or not possible. Multi-layered system components include 0.75” thick polypropylene entangled-matrix drainage layer,  non-woven polypropylene filter layer, and 2” thick polyester blanket designed for water retention, drainage, and anchorage points for promoting secure rooting of plants, as provided by the following supplier:

  - Columbia Green Technologies, Inc.’s Multi-Layered System

***** [DELETE PRECAST CONCRETE PAVERS IF NOT SPECIFIED.] *****

2.16	PRECAST CONCRETE PAVERS

A.	Concrete Pavers:  Freeze-thaw resistant precast concrete pavers, minimum 2” thickness, with the following characteristics:

1.	Compressive Strength	8,000 psi ave. min. (ASTM C140)

2.	Flexural Strength		1,000 psi ave. min. (ASTM C293)

3.	Water Absorption		5% max. (ASTM C140)

4.	Freeze/Thaw		1% max. loss of dry weight – 50 cycles (ASTM C67)

5.	Center Load			1,750 lbs. ave. min. (WTCL 99)

6.	Weight			24 lbs./sq.ft. ave. min. (based on 2” thickness)

7.	Dimensions			[  ] x [  ] inches

8.	Manufacturer		[                     ]

9.	Style				[                     ]

10.	Color				[                     ]

- Paver Pedestal System: Heavy-duty polyethylene pedestals specifically designed for use with specified precast concrete pavers. Provided with shim system or integral height adjustment mechanism. Provided with drainage channels within the pedestal base.

2.17	FLASHING SURFACINGS AND COATINGS

- Aggregate Finish Coating: Single component polyurethane-based resin suitable for use to seal aggregate, as provided by the following Manufacturer:

- Kemper System, Inc.’s Kemperdur ECO Finish.

- Kemper System, Inc.’s Kemperdur BSF-R Finish.

- Color Coating: Polyurethane-based coating suitable for use as a colored coating for exposed and submerged applications, as provided by the following Manufacturer:

  - Kemper System, Inc.’s Kemperdur 1K Deko Colored Finish.

PART 	EXECUTION

EXAMINATION

Verify that surfaces and site conditions are ready to receive work.

Verify deck/substrate openings, curbs, and protrusions through deck/substrate, wood cant strips and reglets are in place and solidly set.

Verify deck/substrate is structurally supported, secure and sound.

PREPARATION OF SUBSTRATE

General:  Surfaces to be prepared as a substrate for the new waterproofing system as follows:

The contractor shall determine the condition of the existing structural deck/substrate.  All defects in the deck or substrate shall be corrected before new waterproofing work commences. Areas of deteriorated deck/substrate, porous or other affected materials must be removed and replaced with new to match existing.

Prepare flashing substrates as required for application of new waterproofing membrane flashings.

Inspect substrates, and correct defects before application of new waterproofing.  Fill all surface voids greater than 1/8 inch wide with an acceptable fill material.

Remove all ponded water, snow, frost and/or ice from the work substrate prior to installing new waterproofing materials.

The final substrate for waterproofing shall be clean, dry, free of loose, spalled or weak material including coatings, mineral aggregate, and flood coat/gravel surfacing, oil, grease, contaminants, abrupt changes in level, waterproofing agents, curing compounds, and free of projections which could damage membrane materials.

***** [SELECT REQUIRED SUBSTRATE PREPARATION METHOD(S)] *****

B.	Existing Asphaltic Bituminous Waterproofing:

- Existing flashings shall be removed down to the structural substrate/penetration at all flashing areas.

- Existing roofing shall be removed down to the structural deck, or prepared as a substrate for the new waterproofing system, as per project requirements. The suitability of the existing roofing membrane as a substrate for the new waterproofing system shall be contingent on the written approval by Waterproofing Manufacturer's Technical Department.

- If the existing roofing is retained, damaged and saturated areas of existing roofing membrane shall be removed and replaced, or repaired, with granule-surfaced modified bitumen membrane.

- Smooth-surfaced membrane with applied coating shall have all loose coating removed and an adhesion test performed. The application of a granule-surfaced modified bitumen membrane may be required by Waterproofing Manufacturer's Technical Department if the remaining coating does not allow acceptable adhesion.

- Granule-surfaced membrane shall have all loose granules removed from the surface by vacuuming and power brooming.

- Gravel-surfaced membrane shall have all flood coat and gravel removed to the top ply. The application of a granule-surfaced modified bitumen membrane may be required by Waterproofing Manufacturer's Technical Department if the ply sheets are damaged or otherwise deteriorated, or if the existing membrane is coal-tar pitch-based.

C.	Concrete:

- New concrete shall have cured a minimum of 28 days in accordance with ACI-308, or as approved by Waterproofing Manufacturer's Technical Department.

2.	New or existing concrete shall be free of oil, grease, curing compounds, loose particles, moss, algae growth, laitance, friable matter, dirt, bituminous products and previous waterproofing materials.

3.	New or existing concrete shall be dry with a maximum moisture content of five (5) percent. Determinations of moisture content shall be performed by the Contractor. Contractor shall be responsible to perform periodic evaluations of moisture content during the work. Moisture evaluation results shall be submitted in writing to the Owner or his designated Representative and Waterproofing manufacturer for acceptance.

- Where required, concrete shall be abrasively cleaned in accordance with ASTM D4259 to provide a sound substrate free from laitance. Achieve an open concrete surface in accordance with ICRI surface profiles CSP 3-5. When using mechanical methods to remove existing waterproofing products or surface deterioration, the surface profile is not to exceed ¼ inch (peak to valley).

- The substrate shall be sound and all spalls, voids and blow holes on vertical or horizontal surfaces must be repaired prior to placement of the primer coat. Spalls and other deterioration shall be repaired in accordance with the requirements of the Owner or his designated Representative and Membrane manufacturer.

- Areas of minor surface deterioration of 0.25” (6 mm) or greater in depth shall be repaired to prevent possible ponding of the system, leading to excessive usage of primer and resin.

- Extent and location of thin surface patching shall require approval of the Owner or his designated Representative and Waterproofing Manufacturer prior to the application of any system component.

- For concrete materials with a compressive strength of less than 3,500 psi contact Waterproofing Manufacturer Technical Department for substrate preparation requirements.

D.	Masonry:

- Walls shall be built with hard kiln dried brick or waterproof concrete block construction.

- Areas of soft or scaling brick or concrete, faulty mortar joints, or walls with broken, damaged or leaking coping shall be repaired in accordance with the requirements of the Owner or his designated Representative and Flashing Membrane Manufacturer.

E.	Steel/Metal:

1.	Clean and prepare metal surfaces to near white metal in accordance with SSPC - SP3 (power tool clean) or as required by membrane manufacturer.  Extend preparation a minimum of three (3) inches beyond the termination of the membrane flashing materials. Notch steel surfaces to provide a rust-stop.

2.	In addition to cleaning, all metal surfaces shall be abraded to provide a rough open surface. A wire brush finish is not acceptable.

F.	Wood/Plywood:

1.	Plywood shall be identified with American Plywood Association (APA) grade trade marks and shall meet the requirements of product standard PS1.  Strip plywood joints with four inch (4") wide strip of flashing membrane.  Cover knot holes or cracks with strips of flashing Membrane.

G.	Other Flashing Surfaces:

1.	Remove all contaminants as required by membrane manufacturer. Surface preparation shall be performed by means approved by Owner or his designated Representative.

H.	Finish Leveling, Patching and Crack Preparation:

- General: EP primer/sand mix is the preferred material for all concrete and masonry substrate finish leveling, crack and wall/deck preparation and patching. EP primer/sand patching mix provides a set time of approximately twelve (12) hours and does not require surface grinding. Kemperol primer/sand mix is typically applied in conjunction with general surface priming.

- Concrete and Masonry Substrate Leveling & Patching: Substrate conditions are to be evaluated by the Contractor, the Owner, or his designated Representative, and Membrane manufacturer. Perform leveling and patching operations as follows:

- Level uneven surfaces with a leveling mixture of primer and approved kiln-dried silica sand in a 1:2 primer to sand ratio by volume. Spread and plane this compound with a squeegee and trowel to achieve a flat surface.

- Fill cavities with a patching mixture of primer and approved kiln-dried sand in a 1:3/1:3.5 primer to sand ratio by volume.

- Silica sand must be kept absolutely dry during storage and handling.

- Any surface to be leveled or filled must first be primed with an appropriate primer.

- Joint and Crack Preparation: Joints, cracks and fractures in the structural deck/substrate shall be prepared as defined below prior to installation of the waterproofing membrane. Note: Joints, cracks, and fractures may telegraph through the waterproofing membrane.

- Non-Moving Cracks: Determine that crack is non-moving. Clean out crack by brushing and oil-free compressed air. Fill crack with polyurethane sealant. Allow for a minimum of twelve (12) hours cure or as required by sealant Manufacturer.

- Moving Cracks: Determine that crack is moving. Clean out crack by brushing and oil-free compressed air. Fill crack with polyurethane sealant. Allow for a minimum of twelve (12) hours cure or as required by sealant Manufacturer. Apply resin and 4 inch (10 cm) wide strip of membrane (resin and fleece) in strict accordance with Membrane manufacturer’s written instructions.

PRIMER APPLICATION

General:

- Mix and apply two-component primer in strict accordance with written instructions of Membrane Manufacturer.  Use only proprietary materials, as supplied by the membrane manufacturer.

- The substrate surface must be dry, with any remaining dust or loose particles removed using clean, dry, oil-free compressed air, industrial vacuum, cloth wipe or a combination of methods.

- Do not install primer on any substrate containing newly applied and/or active asphalt, coal-tar pitch, creosote or penta-based materials unless approved in writing by Membrane Manufacturer. Some substrates may require additional preparation before applying primer.

Mixing of Standard EP and D Primers:

- Premix primer Component A thoroughly with a spiral agitator or stir stick. Pour primer Component B into Component A and mix the components for approximately 2 minutes with a clean spiral agitator on slow speed or stir stick without creating any bubbles or streaks. DO NOT AERATE. The Primer solution should be a uniform color, with no light or dark streaks present.

- Do not thin primer. Determine required primer coverage for each substrate material/condition and apply in strict accordance with written instructions of Membrane Manufacturer.

- Mix only that amount of primer components A & B that can be used in 30 minutes.

Mixing of Quick-Dry AC Primer:

- Premix primer Component A thoroughly with a spiral agitator or stir stick.

- Determine the correct amount of catalyst Component B based upon ambient temperature in accordance with written instructions of Membrane Manufacturer.

- Add primer catalyst Component B into Component A and mix the components for approximately 2 minutes with a clean spiral agitator on slow speed or stir stick without creating any bubbles or streaks. DO NOT AERATE. The Primer solution should be a uniform color, with no light or dark streaks present.

- Do not thin primer. Determine required primer coverage for each substrate material/condition and apply in strict accordance with written instructions of Membrane Manufacturer.

- Mix only that amount of primer components A & B that can be used in 15 minutes.

Application of Primer:

- Apply primer at the rate of approximately 0.7 – 1.4 gallons (2.65-5.30L) per 100 square feet (9 m2).

- Roll or brush the primer evenly onto the surface to fully saturate the substrate in one application. Do not allow primer to pond or collect in low areas.

- Apply primer only up to the edge of the membrane flashing terminations. Primer application past the membrane terminations requires surfacing with an approved material.

- For EP primer applications over cementitious substrates where protection from substrate wetness is required, apply primer coat at a heavier application rate until pore saturation is achieved.

- For all EP primer applications, apply kiln-dried sand into the final coat of EP primer while still wet at the rate of 20 lbs. per 100 square feet.

- Allow standard primers to cure for a minimum of twelve (12) hours before membrane application. Allow methyl methacrylate primer to cure for a minimum of one (1) hour before membrane application. Membrane must be applied to primer only when completely dry and without tack.

- Exposure of the primer in excess of eight (8) days or premature exposure to moisture may require removal and application of new primer. DO NOT apply new primer over exposed primer older than eight (8) days, primer prematurely exposed to moisture, or primer used as temporary waterproofing, unless approved in writing by the Membrane Manufacturer.

Disposal of Primer:

- Cured primer may be disposed of in standard landfills. This is accomplished by thoroughly mixing all components.

- Uncured primer is considered a hazardous material and must be handled as such, in accordance with local, state and federal regulation. Do not through uncured resin away.

MEMBRANE APPLICATION

General:

- Mix and apply cold fluid-applied reinforced polyurethane waterproofing membrane in strict accordance with written instructions of Membrane Manufacturer. Use only proprietary membrane resins and materials, as supplied by the membrane manufacturer.

- The primed substrate surface shall be dry, with any remaining dust or loose particles removed using clean, dry, oil-free compressed air, industrial vacuum, cloth-wipe or a combination.

- Protect all areas where membrane has been installed. Do not work off installed membrane during application of remaining work before forty-eight (48) hours of curing. Movement of materials and equipment across installed membrane is not acceptable. If movement is necessary, provide complete protection of affected areas.

- Closely follow the Membrane Manufacturer's recommendation for hot and cold weather application. Monitor surface and ambient temperatures, including the effects of wind chill.

Mixing of Resin:

- Mix resin Component A (cream formulation) with a spiral agitator until the liquid is a uniform cream color. If the ambient temperature is below 50°F (10°C), then a weather related additive should be combined and mixed into the Component A.

  - Accelerator should be added to resin Component A when the ambient temperature is 50°F (10°C) and below. The accelerator should be mixed with the spiral agitator for 5 minutes or until both liquids are thoroughly blended.

- Mix resin Component B (dark brown formulation) with a separate spiral agitator until the color is a uniform dark syrup color.

- Pour resin Component A and Component B into a third clean bucket at a 4:1 ratio (by weight) and thoroughly mix the components with a clean spiral agitator. The Resin solution should be a uniform color, with no light or dark streaks present.

- Mix only that amount of resin components A & B that can be used in 30 minutes.

Application of Resin/Fleece

- Apply mixed resin to the prepared surface at the approximate rate of 4.5 gallons (16.9L) per 100 square feet (9 m2). The resin should be rolled or brushed liberally and evenly onto the surface using a broad, even stroke. Cover one working area at a time, between 15 – 20 ft.2 (1.4 – 1.9 m2).

- Roll out dry polyester fleece onto the liquid resin mix, making sure the SMOOTH SIDE IS FACING UP (natural unrolling procedure), avoiding any folds and wrinkles.  The fleece will begin to rapidly saturate with the liquid resin mix.  Use a medium nap roller or brush to work the resin into the fleece, saturating from the bottom up, and eliminating air bubbles, wrinkles, etc. The appearance of the saturated fleece should be light opaque amber with no white spots. White spots are indications of unsaturated fleece or lack of adhesion. It is important to correct these faults before the resin cures.

- Apply additional liquid resin mix on top of fleece at the approximate rate of 2 gallons (7.5L) per 100 square feet (9 m2) to finish the saturation of the fleece. Roll this final coating into the fleece, which will result in a glossy appearance. The fleece can only hold so much resin and all excess should be rolled forward to the unsaturated fleece, eliminating ponding or excessive build-up of the resin. Any excess resin left on the top of the fleece will weather and peel off. The correct amount of resin will leave no whiteness in fleece and there will be a slightly fibrous surface texture.  The final resin coating should be smooth and uniform.

- Prevent contact between mixed/unmixed resin and new/existing membrane. If any unmixed resin contacts membrane surface remove immediately and clean thoroughly with a cloth rag.

- At all fleece seams, allow a 2” (5 cm) overlap for all side joints and a 4” (10 cm) overlap for all end joints.

- At membrane tie-offs, clean in-place membrane with MEK (methyl ethyl ketone) solvent once resin has cured. Allow solvents to fully evaporate before application of new resin.

Disposal of Resin:

- Cured resin may be disposed of in standard landfills. This is accomplished by thoroughly mixing all components.

- Uncured resin is considered a hazardous material and must be handled as such, in accordance with local, state and federal regulation. Do not throw uncured resin away.

FLASHING APPLICATION

- General:

- Install flashing system in accordance with the requirements/recommendations of the Membrane manufacturer and as depicted on standard drawings and details. Provide system with base flashing, edge flashing, penetration flashing, counter flashing, and all other flashings required for a complete watertight system.

- Wherever possible, install the flashings before installing the field membrane to minimize foot traffic over newly installed field membrane.

- All membrane flashings shall be installed concurrently with the waterproofing membrane as the job progresses. Temporary flashings are not allowed without prior written approval from the Membrane manufacturer.  Should any water penetrate the new waterproofing membrane because of incomplete flashings, the affected area shall be removed and replaced at the contractor's expense.

- Provide a minimum vertical height of 8" for all flashing terminations.  Flashing height shall be at least as high as the potential water level that could be reached as a result of a deluging rain and/or poor slope.  Do not flash over existing through-wall flashings, weep holes and overflow scuppers.

- All flashings shall be terminated as required by the Membrane Manufacturer.

- Alkalinity surface protection consisting of two applications of EP primer and one application of approved broadcast mineral aggregate surfacing shall be applied wherever stone, concrete, or masonry elements will be placed directly over the flashing.

- Metal Flashing – General:

- Metal flashings shall be fabricated in accordance with the current recommendations of SMACNA and in accordance with standard drawings and project details.

- Metal flashing flanges to which membrane is to be bonded shall be a minimum of four (4) inches in width, and secured to the substrate six (6) inches on center staggered with fasteners appropriate to the substrate type. The flanges shall be provided with a roughened surface that has been cleaned of all oil and other residue.

- Metal edges that will be overlaid with membrane shall be provided with a 1/4” min. hemmed edge.

- Apply primer, resin and fleece to metal flange, extending membrane to outside face of metal edging, and to vertical face of metal base/curb flashing.

  - Membrane Flashing – General:

    - Membrane flashings shall be fabricated with primer appropriate for the substrate surface, resin of the same base chemical type as the field membrane, and fleece of the same weight as the field membrane unless specified otherwise.

    - Primer, resin, and fleece mixing and application methods as specified for field membranes are also suitable for membrane flashing.

    - Fleece shall overlap 2” (5 cm) minimum for all joints. Fleece shall be cut neatly to fit all flashing conditions without a buildup of multiple fleece layers. Work wet membrane with a brush or roller to eliminate blisters, openings, or lifting at corners, junctions, and transitions.

- Pipes, Conduits, and Unusually Shaped Penetrations:

  - Flash all penetrations using cold fluid-applied reinforced polyurethane waterproofing membrane. Flashing material shall be the same resin used in the field membrane with 165 fleece reinforcement.

  - Flashing is typically constructed as a two part assembly consisting of a vertical wrap and a horizontal target patch. There must be a minimum of a two (2) inch (5 cm) overlap between vertical and horizontal flashing components.

- Drains and Scuppers:

- Acceptable drain and scupper materials are cast iron, cast aluminum, and copper.

- Connect new drains and scuppers to existing storm sewer system.

- Alternatively, replace all broken or damaged parts of existing drains and scuppers, or provide and install an acceptable insert.

- Flash drains and scuppers using cold fluid-applied reinforced polyurethane waterproofing membrane.  Flashing material shall be the same resin used in the field membrane with 165 fleece reinforcement.

- Flashing material shall extend four (4) inches minimum onto drain, scupper, or insert flange.

- Install clamping ring if provided as part of the drain or scupper design. Install a strainer basket to prevent debris from clogging the drainage line.

  - Hot Stacks:

- Protect the membrane components from direct contact with steam or heat sources when the in-service temperature exceeds 150 degrees F.  In all such cases flash to an intermediate "cool" sleeve.

- Fabricate "cool" sleeve in the form of a metal cone using galvanized metal in accordance with Membrane manufacturer’s details.

- Flash all penetrations using cold fluid-applied reinforced polyurethane waterproofing membrane. Flashing material shall be the same resin used in the field membrane with 165 fleece reinforcement.

- Flashing is typically constructed as a two part assembly consisting of a vertical wrap and a horizontal target patch. There must be a minimum of a two (2) inch (5 cm) overlap between vertical and horizontal flashing components.

  - Flexible Penetrations:

- Provide a weathertight gooseneck of round cross-section for each penetration or group of penetrations. Set in water cut-off mastic and secure to the structural substrate.

- Acceptable gooseneck material is copper, of a sheet weight appropriate for the application.

- Flash all penetrations using cold fluid-applied reinforced  polyurethane waterproofing membrane. Flashing material shall be the same resin used in the field membrane with 165 fleece reinforcement.

- Flashing is typically constructed as a two part assembly consisting of a vertical wrap and a horizontal target patch. There must be a minimum of a two (2) inch (5 cm) overlap between vertical and horizontal flashing components.

- Walls, Curbs and Base Flashings:

- Wall, curb and base flashings shall be installed to solid substrate surfaces only. Adhering to gypsum-based panels, cementitious stucco, synthetic stucco, wood or metal siding, and other similar materials is not acceptable.

- Flash all walls, curbs and base flashings using cold fluid-applied reinforced  polyurethane waterproofing membrane.  Flashing material shall be the same resin used in the field membrane with 165 fleece reinforcement.

- Reinforce all transition locations and other potential wear areas with a four (4) inch wide 165 polyester fleece bottom layer evenly positioned over the transition prior to installing the exposed flashing layer.

- Reinforce all inside and outside corners with a four (4) inch diameter conical piece of 165 fleece prior to installing the exposed flashing layer.

- All pins, dowels and other fixation elements shall be flashed separately with a vertical flashing component prior to installing the exposed flashing layer.

- Extend flashing a minimum of four (4) inches onto the field substrate surface.

  - Drip Edges and Gravel Stops:

- Metal drip edges and gravel stops shall be installed to solid substrate surfaces only. Securement to gypsum-based panels, cementitious stucco, synthetic stucco, wood or metal siding or coping, and other similar materials is not acceptable.

- Flash all drip edges and gravel stops by extending the field membrane all the way to the edge of the exposed face prior to installing the metal edging. Strip in the metal flange with a separate 8 inch wide strip of membrane adhered to both the securement flange and to the field membrane.

- For conditions where water infiltration behind the exposed drip edge or gravel stop face is possible, install a separate 165 polyester fleece bottom layer positioned behind the face area and extending a minimum of four (4) inches past the securement flange onto the field substrate prior to installing the drip edge or gravel stop.

  - Field Fabricated Control or Expansion Joint Flashing:

- Control or expansion joints in excess of two (2) inches in width require the use of a separate engineered joint system.

- Control or expansion joints two (2) inches or less in width may be flashed with two layers of cold fluid-applied reinforced polyurethane waterproofing membrane and a compressible foam or rubber insert. Use a 165 polyester reinforcing fleece bottom layer and 165 polyester fleece top layer.

- Grind or otherwise bevel the inside edges of the joint opening to provide a smooth transition edge for the fleece.

- Flashing typically consists of a 165 polyester reinforcing fleece bottom layer looped into the joint as a cradle, a compressible foam or rubber insert at 25% compression fitted into the joint, and a 165 polyester fleece top layer applied over the joint. Extend both fleece layers four (4) inches minimum onto the field substrate on both sides of the joint.

- Apply the field membrane over the entire joint area.

- Electrical Conduit, Gas Lines and Lightning Protection

  - Supports for electrical conduit and gas lines greater than one (1) inch in diameter require the use of a separate engineered support system.

  - Supports for electrical conduit and gas lines one (1) inch or less in diameter, and bases for lightning protection rods and cable, can be adhered directly to the membrane surface with a single-component, high quality polyurethane sealant.

SURFACING AND FINISHES

***** [SELECT SURFACING METHOD(S) AS SPECIFIED] *****

- Kiln-Dried Aggregate Finish Surfacing

- Where specified, provide and install approved kiln-dried silica sand, or other approved mineral surfacing to achieve an aesthetic and/or non-skid surface.

- Broadcast specified and approved sand or aggregate in excess into a bonding coat application of Kemperol 2K-PUR resin (without fleece reinforcement) applied over clean, freshly-cured membrane at the rate of approximately  0.8 gal. per 100 square feet. Aggregate shall be applied at the rate of 60 lbs. per 100 square feet. Obtain uniform and full coverage.

- Following minimum 24 hour cure time remove loose/un-embedded mineral aggregate by blowing with oil-free compressed air or with a vacuum.

- Seal aggregate surface with a sealing coat application of Membrane Manufacturer’s approved aggregate coating, applied at the rate of approximately 0.8 gal. per 100 square feet. After completion of mineral aggregate broadcasting, avoid any traffic for a minimum of two (2) days to allow for surfacing to cure.

- Coating-Type Finish Surfacing

- Where specified, provide and install Membrane Manufacturer’s approved urethane-based coating applied over clean, fully cured membrane.

- For two-component coatings, premix resin component A thoroughly with a spiral agitator or stir stick. Pour Color Component B into Component A and mix the components for approximately 2 minutes with a clean spiral agitator on slow speed or stir stick without creating any bubbles or streaks until material is consistent in color. Transfer to a clean container and mix again to ensure a thorough combination of the two components.

- Apply coating at a rate of approximately 0.8 gallons per 100 square feet.  Avoid any traffic for a minimum of two (2) days to allow for surfacing to cure.

- Alkalinity Protection

- Where placement of concrete, mortar or adhesive setting beds are required over sections of the waterproofing membrane or flashing, the application of the following alkalinity protective measure is mandatory:

- Application of one (1) heavy or two (2) lighter coats of Primer EP at 1.5 gal (5.7L)/100 SF (9 m2) total application, with broadcast of kiln-dried silica sand at the approximate rate of 30 lbs. per 100 square feet into final wet coat of primer.

- Protection shall extend a minimum of one (1) foot (0.3m) past the concrete form on all sides.

- Provide continuous cleaning with water and brush to eliminate settlement of concrete residues on in-place waterproofing membrane adjacent to area of concrete placement.

- Adhesion Key:

- Where placement of non-cementitious material such as asphalt pavement is required over sections of the waterproofing membrane or flashing, the application of the following adhesion key measure is mandatory:

- Application of one (1) coat of Primer EP at 1.0 gal (3.8L)/100 SF (9 m2) total application, with broadcast of kiln-dried silica sand at the approximate rate of 30 lbs. per 100 square feet into wet primer.

3.8	TEMPORARY CLOSURES & WATERSTOPS

A.	Contractor shall be responsible to ensure that moisture does not damage any completed section of the new waterproofing system.  Completion of flashings, terminations, and temporary closures shall be completed as required to provide a watertight condition.  All temporary closures shall be made as recommended or required by the membrane manufacturer.

3.9	 PROTECTION

A.	Upon completion of waterproofing and flashings (including all associated work), institute appropriate procedures for surveillance and protection of roofing during remainder of construction period.  Protect all areas where membrane has been installed.

3.10	FLOOD TEST

A.	A flood test of the completed membrane and flashing system shall be conducted prior to the installation of any overburden surfacing. The flood test shall be of a 24 hr. minimum duration, and shall apply a water head of 2” over the entire application area. Any incidents of water entry shall be evaluated and all necessary repairs conducted, followed by an additional flood test.

*****[DELETE DRAINAGE/PROTECTION MAT INSTALLATION IF NOT REQUIRED]*****

3.11	DRAINAGE/PROTECTION MAT INSTALLATION

A.	Place the drainage mat fabric side up on top of the finished waterproofing membrane. Secure the drainage mat in place by placing temporary ballast on top of the drainage mat.

B.	Connect adjacent panels at the longitudinal edge by pulling the filter fabric back to expose the flange.  The panel edge should be butted to the edge of the adjacent panel dimple to dimple or the edge of the next panel may be placed over two dimples and interlocked.  Panel ends are to be attached in the same manner.  Connections should be completed in shingle fashion so the moisture will flow with the overlap and not against it.  Overlap fabric in the direction of water flow.  Cover all terminal edges with the filter fabric flap by tucking the fabric behind the core.

C.	The drainage mat should be channeled into an internal drain or perimeter drain system. Create openings in the drainage core to correspond with all discharge holes in the drain at the structural deck level. Fabric must be left intact at these holes to prevent intrusion of soil, grout, sand, or concrete into the drainage core.

D.	At roof penetrations, cut the drainage core around the protrusion, cut an X in the fabric, and tape the fabric around the protrusion to prevent intrusion of overburden materials into the core.

*****[DELETE EXTRUDED POLYSTYRENE INSULATION INSTALLATION IF NOT REQUIRED]*****

3.12	EXTRUDED POLYSTYRENE INSULATION INSTALLATION

- General: Insulation shall be installed in accordance with the insulation manufacturer's current published specifications and recommendations for use in an above-membrane application.

- Install Insulation:  Install only as much insulation as can be covered with overburden or otherwise secured in place before the end of the day's work or before the onset of inclement weather.

- Fit Insulation:  Neatly fit insulation to all penetrations and projections.  Insulation shall be loosely butted, with gaps not greater than 1/4".

***** [DELETE FILTER FABRIC INSTALLATION IF NOT REQUIRED] *****

3.13	FILTER FABRIC INSTALLATION

A.	Roll out filter fabric over the extruded polystyrene insulation as specified, avoiding wrinkles. Overlap all side and end laps by 12”.

B.	Extend the filter fabric mat vertically to just above the height of the solid overburden or growing medium.

C.	Cut filter fabric neatly around all penetrations and projections.

3.14	TRAY INSTALLATION

A.	Place trays directly on waterproofing membrane or over filter fabric/extruded polystyrene insulation. Position bottom troughs of trays perpendicular to roof slope, except minor crickets. Orient edges to interlock and hold trays in place. Secure trays together with manufacturer’s quick-lock fasteners through aligned holes in tray sidewalls.

B.	Promptly after placing trays on roof, install edge flashing to secure tray array to structure, and fill trays with growing media or otherwise ballast trays as necessary to prevent movement of trays due to weather and construction activities.

3.15	SUPPLEMENTAL BUILT-UP ASSEMBLY INSTALLATION

A.	Install drainage layer parallel to roof slope directly on waterproofing membrane or over filter fabric/extruded polystyrene insulation at all areas within vegetated installation area not receiving trays or walkpads.

B.	Place filter layer parallel to roof slope over drainage layer, providing 2” overlaps at all side and end laps.

C.	Place retention layer parallel to roof slope over filter layer.

D.	Promptly after placing built-up assembly on roof, install edge flashing and growing media or ballast as necessary to prevent movement of multi-layer components due to weather and construction activities.

3.16	METAL EDGE FLASHING INSTALLATION

A.	Install trim flashing to conceal tray sides/built-up assembly components and to lock into metal counter flashing at building perimeter flashing systems. Install interlocking metal anchor flashing at openings between trays and perimeter roof edges to anchor trays, building perimeter flashings, counter flashings, and walkpad system together.

B.	Fasten metal edge flashing to structure 12” o.c. Use ¼” lead drive pins into concrete and masonry. Use #12 stainless steel screws into wood and metal.

3.17	WALKPAD INSTALLATION

A.	Install walkpads at all locations where foot traffic is anticipated to minimize walking over vegetated trays and built-up assembly. This includes the building perimeter, around rooftop-mounted equipment, at roof access locations, and walking areas to these locations.

B.	Cut walkpads to fit gap between planting trays and perimeter of tray installation area. Install walkpad locking trim flashing to secure walkpads to planting trays.

3.18	IRRIGATION SYSTEM INSTALLATION

A.	Lay out and secure drip irrigation lines to trays using manufacturer’s irrigation hook and quick-lock fastener system.

B.	Lay out drip irrigation lines, emitter side up, on top of retention layer at built-up assembly locations.

C.	Make connections of irrigation lines to water supply provided by others, including sub-mains, valves, and manifold system. Install regulator to govern pressures exceeding 15 psi.

D.	Conduct testing procedures to verify performance prior to installing growing media.

3.19	DRAIN INSPECTION BOX INSTALLATION

A.	Install drainage inspection boxes at all drain locations to allow periodic inspection and cleaning of all drainage outlets.

3.20	GROWING MEDIA INSTALLATION

A.	Distribute growing media evenly into the trays and over the built-up assembly to achieve the specified media thickness. DO NOT damage the irrigation system during media installation.

3.21	PLANT INSTALLATION

A.	Install plants by the method selected, conforming to landscape design and other requirements.

B.	If post-planting with individual plants, distribute differing plant species evenly and uniformly within each tray for overall uniform appearance, or install in specific pattern or arrangement as specified by designer.

C.	Following installation of plants, irrigate using potable water free of substances harmful to plant growth.

3.22	PLANT MAINTENANCE

A.	Maintain a uniform stand of succulent plants by watering and maintaining vegetated areas for a minimum period of 90 days following installation and through Substantial Completion and occupancy by Owner. Include watering, spot weeding, fertilization, and other measures as necessary to maintain health and propagation of plant materials and as necessary for stabilization, in accordance with horticultural/nursery recommended plant maintenance procedures.

B.	Instruct Owner and furnish written maintenance instructions to be followed after initial plant maintenance period. Instructions shall describe typical work necessary for planting materials to develop complete root structure and to become stabilized. Periodic watering is required for the first year after installation to ensure proper root development.

3.23	CONCRETE PAVER APPLICATION

A.	Install precast concrete pavers in accordance with paver manufacturer’s currently published specifications, and as per layout schedule. Pavers can be installed over a drainage mat without pedestals, or supported by a pedestal system approved by the paver manufacturer. The use of insulation blocks in lieu of pedestals is not acceptable.

B.	Pavers shall be installed with a 1/8” maximum, 1/16” typical height variation between adjacent pavers. Pavers shall be installed without rocking. Pavers shall be installed in a straight line with a maximum variance of ½” within a distance of 10’ measured at any location and in any direction. Joints between pavers shall be 3/16” typical.

C.	Cracked, broken or otherwise damaged pavers must be removed and discarded, and replaced with undamaged units. Cut and fit pavers neatly around all penetrations and projections, and at the perimeter, achieving a 1” maximum gap.

3.24	CLOSEOUT

A.	Correction of Work:

1.		Work that does not conform to specified requirements including tolerances, slopes, and finishes shall be corrected and/or replaced.  Any deficiencies of membrane application, termination and/or protection as noted during the Membrane manufacturer’s inspections shall be corrected and/or replaced at Contractor’s expense.

B.	Clean-Up:

    - Site clean-up, including both interior and exterior building areas that have been affected by construction, shall be restored to preconstruction condition.

END OF SECTION