SECTION 073363

VEGETATED ROOF TRAYS

***

This specification section is written to CSI MasterFormat 2012 and CSI SectionFormat 2008.

Specification master was written around Columbia Green Technologies Pre-Grown Vegetated Roof Tray system.

This is a turn-key fully integrated vegetated roof tray system that meets or exceeds FLL and Federal Green Roof planning, installation, and maintenance guidelines and requirements for storm water, energy, and environmental management.

Columbia Green Technologies Tray System includes double interlocking trays, connectors, regionally sourced engineered growing media, specified plants and stainless steel or aluminum edging. Drainage system is designed to control flow of water and bottom of trays are designed to reduce wind uplift.

***

GENERAL

SUMMARY

Section Includes: Vegetated tray system installed over membrane roofing system, including:

Trays.

Growing media.

Plants.

Edge elements / metal trim.

Single Source Warranty

***

Edit related Sections to those referenced in body of specification section

***

Related Requirements:

[Section 013113	-	Project Coordination]

[Section 013119	-	Project Meetings]

[Section 013300	-	Submittal Procedures]

[Section 014300	-	Quality Assurance]

[Section 016510	-	Product Delivery, Storage, and Handling Requirements]

[Section 017700	-	Closeout Procedures]

[Section 017823	-	Operation and Maintenance Data]

[Section 017836	-	Warranties]

[Section 018113	-	Sustainable Design Requirements]

[Section 075000	-	Membrane Roofing]

[Section 076000	-	Flashing and Sheet Metal]

Division 22	-	Plumbing for water and connections required for irrigation system

[Section 329000	-	Planting]

REFERENCES

***

Edit reference standards to those referenced in body of specification section.

***

Reference Standards: Current edition at date of Project Manual, except as otherwise specified.

US Green Building Council (USGBC), Leadership in Energy and Environmental Design (LEED) - LEED Reference Guide, Version 3.0, and USGBC Project Calculation Spreadsheet. Web Site http://www.usgbc.org.

FM Approvals – Approval Standard for Vegetative Roof Systems – Class Number 4477

Declare Label- Voluntary disclosure of building material ingredient list in support of Living Building Challenge project certification. Web sites: www.declareproducts.com ; http://living-future.org/lbc The ‘Red List’ represents the “worst in class” materials, chemicals, and elements known to pose serious risks to human health and the greater ecosystem.

DEFINITIONS

Phytoremediation: Use of green plants to extract pollutants, mineral elements, heavy metals, and radioisotopes, and other contaminants from soil and water environments.

German FFL Greenroof Guidelines: Guideline for the Planning, Execution and Upkeep of Green Roof Sites, Current Release. Worldwide acknowledged state-of-the-art technology as scientific foundation for successful and thriving green roofs.

ADMINISTRATIVE REQUIREMENTS

***

Edit sections to include coordination and sequencing as needed for completion of work.

***

Coordination: Conform to Section [013113] for coordination with work of other Sections.

Section [075000] for sequencing, scheduling, and placement over [_____] roofing system.

Section [076000] for integrating with flashing systems at parapet walls and other locations.

Preinstallation Meetings:

Arrange, in accordance with Section [013119].

Attendance: Contractor, installer, Owner, Architect, vegetated roofing system, and membrane roofing system manufacturer representatives, roofing installer, and those requested to attend.

Meeting Time: Minimum 2 weeks prior to beginning work of this Section and to prior work of related Sections affecting work of this Section.

Location: Project Site.

Agenda:

Discuss drainage mats, root barriers, filter fabrics, slip-sheets, protection course, and other requirements required by roofing manufacturer.

Verify water source and connections for drip irrigation system.

Discuss post-installation care including establishment period and maintenance regimen.

SUBMITTALS

Submit under provisions of Section [013300].

Shop Drawings: Plan layout and details at critical terminations of vegetated tray roof system with adjacent building construction. Include flashing and metal edger connections to tray system, and building systems.

Product Data:

Vegetated tray roof system, components, growing media type, and planting types with descriptive published data indicating characteristics and limitations.

Include standard details, system components, and proposals for plant types and characteristics.

Stormwater retention data, including 24-storm hydrograph.

FM approval.

Complete disclosure of chemical components comprising the tray. Provide verification that the formulation is ‘Red List Free’.

Manufacturer Instructions: Include manufacturer’s installation instructions, special procedures, and conditions requiring special attention.

Certifications: Written submittal by manufacturer indicating that installer is certified as qualified to perform work of this Section.

Sample Warranty: Manufacturer’s standard warranty meeting or exceeding provisions specified by this Section.

***

Insert recycled content or materials transparency goals to meet sustainable project requirements. Following are examples.

***

[Recycled Content: Confirm recycled content of system components that meet or exceed [20] percent post-consumer and [40] percent post-industrial recycled content conforming to USGBC LEED Reference Guide.]

[Product Ingredients: Disclose product ingredients, source, manufacturing locations and recycling options content conforming to [Living Building Challenge] [Other] requirements.]

CLOSEOUT SUBMITTALS

Submit under provisions of Section [017700] and [Section 017824].

Maintenance Instructions: Manufacturer’s instructions for Owner maintenance of planting media as needed for long term propagation and health of vegetation. Include special provisions as applicable for specific plant media and climatic zone.

QUALITY ASSURANCE

Single Source Responsibility: Provide interlocking plastic trays, plastic tray pins, growing media, plant materials, metal edger and maintenance for stipulated period as a single system by or under direction of vegetated manufacturer.

Manufacturer Qualifications:

Company specializing in work of this Section.

Maintain locally available representation for technical and inspection support services.

Manufacturer’s Technical Representative:

Available on site to make interim observations, recommendations, and final inspection.

Available to verify installation in conformance with manufacturer’s Warranty provisions.

Installer Qualifications: Certified as pre-approved and qualified by manufacturer to install work of this Section.

***

Insert sustainability standards where applicable. Following is an example.

***

[Sustainability Standards Certifications:

Conform to Section 018113 for documentation of LEED Credits contributing to Certification of Project under USGBC LEED-NC 3.0 Green Building Rating System for sustainable building requirements.

Living Building Challenge/Declare Label: Conform to Living Building Challenge Imperative 11 which requires that manufacturers disclose the ingredients in their products to ensure that they are free of Red List chemicals and materials.]

***

For new construction, coordinate with structural engineer of record to calculate roof loads imposed by tray system and design into roof framing system.

***

Preconstruction Testing: Conduct to verify following:

Existing Roofing System: Conduct testing and inspections by professional engineer licensed in State of [___________] to verify that roof is designed and constructed to adequately support load of vegetated roof tray system.

Membrane Roofing Manufacturer: Conduct inspection by certified manufacturer representative to verify that in-place roofing system is acceptable for installation of vegetated roof tray system. Verify protection course and other requirements to maintain warranty provisions.

[OPTIONAL] Flood Test: Conduct 24 hour flood test under provisions of applicable membrane roofing section or under work of this section by Owner’s roofing inspection agency to waterproof and weathertight condition.

FM Approvals: Conformance with FM Approval Standard for Vegetative Roof Systems – Class 4477

DELIVERY, STORAGE, HANDLING

Conform to provisions of Section [016510] and manufacturers instructions.

Delivery: Conduct roof top delivery, assembly, and storage of each component of vegetated roof system under direction of manufacturer’s authorized installer.

Storage:

Maintain health of plants as recommended by nursery guidelines prior to rooftop installation.

Store materials over plywood panels or protective sheeting and do not allow products, growing media, grit, debris, and pedestrian traffic on unprotected roofing system.

Provide water source for irrigation of and maintenance of plants until established.

Handling: Stabilize equipment for moving pallets to roof deck to account for decreasing load limits as cranes or forklifts are extended.

FIELD CONDITIONS

Ambient Air Temperature: Install plant materials in trays preferably between April 1 and November 1 (at northern latitudes) at temperatures between 40 degrees F and 95 degrees F , except as otherwise instructed by manufacturer. Do not install if extended freezing temperatures are expected or if ambient soil temperature is expected to remain below 50 degrees F.

WARRANTY

Conform to Warranty provisions specified Section [017836].

Green Roof Systems are offered with two warranty types. Indicate ‘Single Source’ or ‘Full System’ warranty below. For Single Source, select all applicable roofing types and partners. Both warranty types are available with the option of an extended Plant Life warranty. Please contact Columbia Green for sample Single Source and Full System warranties.

[Single Source Warranty]: Provide materials and labor warranty for vegetated tray roof system including connectors, and edge elements for length of roofing membrane warranty and removal of overburden through the following roofing partner(s):

[Hot Rubber: Carlisle Coatings and Waterproofing; Henry Company Vegetative Roof Assembly].

[EPDM, TPO: Firestone Building Products].

[PVC: Fibertite Green Seaman Corporation].

[Mod Bit & SBS: [Firestone Building Products] [Henry Bakor Canada] [Malarkey Roofing Products] [Derbigum Derbigreen].

[Cold Applied: Kemper System].

[Full System Warranty]: Columbia Green Technologies Manufacturer Warranty. Provide Standard Limited materials and labor warranty for vegetated tray roof system including connectors, and edge elements for length of roofing membrane warranty.

[OPTIONAL] Extended Overburden Warranty.

[OPTIONAL] Extended Plant Life Warranty.

PRODUCTS

SYSTEM

Vegetated Roof System: Prevegetated Green Roof trays and plastic tray pins for installation over roofing system, including [metal edger,] as required for complete installation.

MANUFACTURERS

Columbia Green Technologies, Inc.

Tel (503) 327-8723, Email sales@columbia-green.com

Web Site http://www.columbia-green.com

Substitution Requests: Conform to provisions of Section [012500].

PERFORMANCE / DESIGN CRITERIA

Roof Load Criteria: Following roof load requirements are regionally dependent and may vary by specific installation.

| Field Moisture Capacity Weight | 22.0 psf |
| --- | --- |

Pre-Grown Tray with 4.625 inches of Growing Media

| Fully Saturated Weight | 26 psf |
| --- | --- |
| Field Moisture Capacity Weight | 20.0 psf |

TRAYS

Performance / Design Criteria: Engineer to:

Retain, detain and meter rain and irrigation water.

Allow hydration of plants and prevent root rot.

Allow phytoremediation (removal of contaminates) from soil and water at bottom of trays.

De-energize wind flow under trays reducing chance of wind uplift.

Eliminate need for additional drainage material, root barriers, and filter fabric.

Tray Size: 2 foot square 4-5/8 inch deep.

Material: 88 percent post-industrial recycled content, injection molded, 100 mil polypropylene.

Water-Retention Ridges and Troughs: Eleven 3/4 inch wide by 5/8 inch high troughs and corresponding troughs

Molded Drain Holes: Nine 7/16 inch x 5/8 inch areas with six 1/8 inch holes each located strategically to create the lateral flow of water across the ridges. Eleven 1/8 inch metering holes located at the center of each trough.

Interlocks: Two flat and two overlapping top edges designed to connect and hold adjacent trays together.

Sides: Sloped at 5 degree angle from top to bottom.

Clearance: 5/8 inch above underlying roof membrane to allow water to flow freely under and around trays.

Connection Holes and Fasteners:

Four 3/8 inch holes, aligned and centered in each vertical side panel.

Plastic tray pin.

Hook and plastic tray pin for drip irrigation system.

Weight:

Unloaded Tray Weight: 3.6 pounds.

Loaded With Mature Plants and Fully Saturated 25 to 28 pounds per square foot,

Field Moisture Content Weight: 20 to 22 pounds per square foot fully saturated.

Color/Sheen: Black/semi-gloss.

GROWING MEDIA

Growing Media: Based on German FLL Greenroof Guidelines.

Sourced by Columbia Green Technologies for warranty coverage to apply.

Produced from organic recycled material and inorganic by-products for use as a light weight growing media for hardy long lasting succulent or phytoremediation plants that are beneficial in a green roof environment.

PLANTS

Sourced by Columbia Green Technologies for warranty coverage to apply.

Conform to project landscape design requirements, recommendations of local horticulturists, where possible, and requirements of authorities having jurisdiction, including Fire Marshal, for specific recommendations and regulations.

Design mix of firewise/firesafe hardy long-lasting fibrous succulents, capable of thriving in limited-irrigated rooftop environment for project location. Selections conforming to USDA hardiness zone classification and regional horticulturalist recommendation and as accepted by Architect.

Planting Method: Pre-Grown trays as accepted by Architect.

***

Pre-Planting: Pre-plant trays with sedum cuttings with minimum application rate of 200 lbs. /1000 sf. Pre-planted trays do not include an integrated irrigation system. 80%-85% coverage at time of delivery is recommended.

Edit following paragraphs accordingly.

***

Pre-Grown:

Un-Rooted Cuttings: Distribute plant cuttings by evenly broadcasting over growth medium at a rate of [250] lbs. /1000 sf.

Distribute differing plant species evenly and uniformly within each tray for overall uniform appearance of in-place installation.

See Drawings for specified Plant List.

METAL EDGER

***

Multiple metal edger designs and configurations are available to meet specific interlocking, irrigation enclosure, and building integration requirements. Consult with manufacture and edit following to project requirements.

***

Metal Edger:  Manufacturer’s standard 26 gauge stainless steel or 18 gauge mill finished aluminum metal edger at trays and walkways to frame, connect, and tie tray and walkway systems into each other and adjacent building components.

Prefabricated plastic tray pin receiving slot on outside face of metal edger at 12 inch on center spacing.

Prefabricated notches to allow for irrigation access.

Other flashing: As specified Section 076000.

IRRIGATION SYSTEM

By Others.

EXECUTION

EXAMININATION

Inspect and verify roofing membrane and components complete and ready prior to beginning work of this Section.

Verify protection course over membrane roofing in place and conforming to roofing manufacturer instructions, as inspected and accepted by roofing manufacturer’s technical representative.

Verify that equipment and methods needed to place trays, growing media, planting, and other system components as adequate, stabilized, and available.

SUBSTRATE PREPARATION

Sweep with broom and then use air compressor to blow remaining dust and debris from substrate.

INSTALLATION – GENERAL

Conform to manufacturer's instructions and provisions of Contract Documents. Where in conflict verify with Architect before beginning.

TRAY PLACEMENT

Place trays directly over protection cover provided under roofing work of Section [075000].

Positioned bottom troughs of trays perpendicular to roof slope, except minor crickets.

Orient and overlap edges to interlock and hold trays in place.

Attach trays in place with manufacturer’s standard plastic tray pin through aligned holes in tray sidewalls.

Secure trays together with plastic tray pin fasteners and install metal edger in place.

METAL EDGER PLACEMENT

Conform to manufacturer’s details for interconnections of edge systems.

Install metal edge to conceal tray sides.

Install interlocking metal edger at openings between trays and perimeter roof edges to anchor trays, building perimeter flashings and counter flashings together.

***

Coordinate to install an additional layer of roofing membrane or protection course under each flashing joint as accepted by roofing manufacturer.

***

Sheet Metal Fasteners:

Concrete Walls: Fasten at 12 inch on center using a 1/4 inch lead drive pins.

Wood Parapet Walls:  Install interlocking metal anchor flashing fastened with minimum 12 stainless steel fasteners at 12 inch on center.

Gypsum Sheathing and Other Low Strength Materials: Install 18 gauge by 4 inch galvanized steel strip installed at structural framing at fastener locations. Fasten with minimum 12 stainless steel fasteners at 12 inch on center.

***

Edit following accordingly for type of planting. Note that pre-planted trays will not include irrigation system.

***

Following installation of pre-grown trays, irrigate using potable water free of substances harmful to plant growth. Provide hoses in lengths reaching from water supply source to planting trays.

FIELD QUALITY CONTROL

Manufacturer:

Conduct preconstruction, interim, and final inspections to determine acceptance of vegetated roofing system in presence of Owner, Architect, Contractor, manufacturer’s representative, and installer.

Verify conformance to manufacturer’s instructions and Warranty provisions.

Final Inspection and Acceptance:

Make arrangements for final inspection of in-place installation within 14 days following Substantial Completion with Owner, Architect, Contractor, installer, and others as requested to be present.

Owner will assume maintenance and care of vegetated roof try system following acceptance, except as modified by a maintenance service agreement between Owner and manufacturer.

ADJUSTING

Make adjustments and alignments of trays and metal edger as necessary to give a uniform and finished appearance.

Replace plant media that appears to be stressed or damaged.

CLEANING

Leave installations clean, premises free from debris and residue resulting from work of this Section.

Remove stains from adjacent surfaces with manufacturer's recommended cleaning agents.

PROTECTION OF COMPLETED WORK

Protect membrane waterproof from contamination from petroleum products, grease, oil, solvents, vegetable and mineral oils, animal fat, chemicals, and other foreign material.

MAINTENANCE

Maintain a uniform stand of succulent plants by watering and maintaining vegetated roof trays for a minimum period of 90 days following installation and through Substantial Completion and occupancy by Owner.

Include watering, spot weeding, fertilization, and other measures as necessary to maintain health and propagation of plant materials and as necessary for stabilization.

Instruct Owner and furnish written maintenance instructions, following maintenance period, as necessary for planting materials to develop complete root structure and to become stabilized.

Provide periodic hydration as needed, depending on precipitation.

Follow horticultural / nursery recommended plant maintenance procedures.

***

Optional Maintenance Agreement.

***

Annual Maintenance Continuation Agreement:  Following initial construction maintenance, consult with Owner for continuation of maintenance as offered by installer.

Include watering for first year after installation to ensure proper root development.

Continue watering should be done on an as needed basis.

END OF SECTION